## Dispatch Simulation
Solar PV + Battery Energy Storage System (BESS) Dispatch Optimisation Model
Case Study: Mutshidzi Madavha
Hour | PV Generation (MW) | Load Demand (MW) | Solar to Load (MW) | Excess Solar (MW) | BESS Charge (MW) | BESS Discharge (MW) | Battery SOC (%) | Grid Import (MW) | Potential Grid Export (MW) | Actual Grid Export (MW) | Solar Curtailment (MW)
0 | 0 | 40 | 0 | 0 | 0 | 40 | 28.95 | 0 | 0 | 0 | 0
1 | 0 | 38 | 0 | 0 | 0 | 17 | 20 | 21 | 0 | 0 | 0
2 | 0 | 35 | 0 | 0 | 0 | 0 | 20 | 35 | 0 | 0 | 0
3 | 0 | 35 | 0 | 0 | 0 | 0 | 20 | 35 | 0 | 0 | 0
4 | 0 | 40 | 0 | 0 | 0 | 0 | 20 | 40 | 0 | 0 | 0
5 | 0 | 50 | 0 | 0 | 0 | 0 | 20 | 50 | 0 | 0 | 0
6 | 5 | 65 | 5 | 0 | 0 | 0 | 20 | 60 | 0 | 0 | 0
7 | 25 | 70 | 25 | 0 | 0 | 0 | 20 | 45 | 0 | 0 | 0
8 | 50 | 65 | 50 | 0 | 0 | 0 | 20 | 15 | 0 | 0 | 0
9 | 75 | 60 | 60 | 15 | 15 | 0 | 27.12 | 0 | 0 | 0 | 0
10 | 90 | 55 | 55 | 35 | 35 | 0 | 43.75 | 0 | 0 | 0 | 0
11 | 98 | 55 | 55 | 43 | 43 | 0 | 64.18 | 0 | 0 | 0 | 0
12 | 100 | 55 | 55 | 45 | 45 | 0 | 85.55 | 0 | 0 | 0 | 0
13 | 95 | 50 | 50 | 45 | 30.42 | 0 | 100 | 0 | 14.58 | 14.58 | 0
14 | 85 | 50 | 50 | 35 | 0 | 0 | 100 | 0 | 35 | 35 | 0
15 | 65 | 55 | 55 | 10 | 0 | 0 | 100 | 0 | 10 | 10 | 0
16 | 40 | 65 | 40 | 0 | 0 | 25 | 86.84 | 0 | 0 | 0 | 0
17 | 15 | 80 | 15 | 0 | 0 | 50 | 60.53 | 15 | 0 | 0 | 0
18 | 0 | 85 | 0 | 0 | 0 | 50 | 34.21 | 35 | 0 | 0 | 0
19 | 0 | 80 | 0 | 0 | 0 | 27 | 20 | 53 | 0 | 0 | 0
20 | 0 | 70 | 0 | 0 | 0 | 0 | 20 | 70 | 0 | 0 | 0
21 | 0 | 60 | 0 | 0 | 0 | 0 | 20 | 60 | 0 | 0 | 0
22 | 0 | 50 | 0 | 0 | 0 | 0 | 20 | 50 | 0 | 0 | 0
23 | 0 | 45 | 0 | 0 | 0 | 0 | 20 | 45 | 0 | 0 | 0
Total / Avg